## Slide 1: Diffraction
P47 – Optics: Unit 7

## Slide 2: Unit 7
Course Outline
Unit 1: Electromagnetic Waves
Unit 2: Interaction with Matter
Unit 3: Geometric Optics
Unit 4: Superposition of Waves
Unit 5: Polarization
Unit 6: Interference
Unit 7: Diffraction
Unit 8: Fourier Optics
Unit 9: Modern Optics

## Slide 3: Unit 7
Diffraction

## Slide 4: Unit 7
Single Slit Diffraction – The Huygens-Fresnel Principle
Light propagating through an aperture is a sum of “spherical wavelets”
This isn’t nearly as simple as it may seem.
Most of the challenge of diffraction theory involves doing this in a way you can actually solve!
Peatross & Ware
Incident light
(usually plane wave)
Diffracted “wavelet”
(downstream propagation)

## Slide 5: Unit 7
Scalar Diffraction Theory
We’ll treat the field as a scalar wave, ignoring polarization.
*
Vector Helmholtz Equation
Scalar Helmholtz Equation
This works fine as long as
*Vector diffraction theory is graduate-level electrodynamics, and well beyond the scope of this course. See Jackson Electrodynamics Ch. 10.
Equivalent to requiring that can be
approximated as constant in space

## Slide 6: Unit 7
Coordinates in Diffraction Problems
Choose Cartesian or cylindrical coordinates depending on the symmetry of the aperture (if any)
The wavelet function depends on position in a non-trivial way:
Peatross & Ware

## Slide 7: Unit 7
Airy Disk and Resolution Limit
Irradiance from circular aperture:
First-order Bessel function:

## Slide 8: Unit 7
Airy Disk and Resolution Limit
Irradiance from lens aperture, diameter, D:
Resolution Limit:
When the first zero of one peak is at the same position as the second primary peak
Meet this condition when:
Have minimum resolvable angle
between two objects as:
The Diffraction Limit!

## Slide 9: Xiaowei Zhuang - Harvard
Illuminating biology at the nanoscale with single-molecule
and super-resolution fluorescence microscopy

## Slide 10: Unit 7
Multiple Slit Diffraction

## Slide 11: Unit 7
Equivalent Diffraction
Gratings and
Spectrometers

## Slide 12: Unit 7
Luminescence Spectroscopy

## Slide 13: Unit 7
Stellar Spectroscopy
our sun

## Slide 14: Unit 7
Stellar Spectroscopy
other suns

## Slide 15: Unit 7
Array Theorem
Calculate the diffraction pattern caused by N identical apertures with
Each aperture has a location , so that we use
Change of variables:

## Slide 16: Unit 7
Array Theorem in the Real World:
Discrete Fourier Transform of 2D Images
For a list of N sample data points (1D)
www.originlab.com
For an MxN array of sample data points (2D)
A lot of work has been put into algorithms to
calculate this as efficiently as possible. (FFTW)

## Slide 17: Unit 7
Fourier Optics: The Basic Idea
The intensity distribution in the far-field (Fraunhofer limit) is the 2D Fourier transform of the intensity distribution at the source.
A (perfect) lens causes the image at z= to form at its focal distance.
Peatross & Ware

## Slide 18: Unit 7
Babinet’s Principle
Diffraction from a complicated aperture is just
the coherent sum of diffraction by its component parts
Reminder: add the electric field amplitudes, not the intensities!
Array Theorem

## Slide 19: Unit 7
Diffraction

## Slide 20: Unit 7
The Arago Spot
Corpuscular Theory of Light
Wave Theory of Light
What is the “correct” nature of light?

## Slide 21: Unit 7
Fresnel-Kirchoff – Circular Aperture
Change to cylindrical coordinates!
Example: What is the on-axis electric field due of a plane wave diffracting through a circular aperture?
Peatross & Ware
Integration over is trivial, integral over isn’t too bad…

## Slide 22: Unit 7
Peatross & Ware
a=10 microns
Lambda = 500 nm
On-Axis Intensity Behind Circular Aperture

## Slide 23: Unit 7
Fresnel Diffraction – Single Slit

## Slide 24: Unit 7
Intensity pattern at varying distances behind a circular aperture:
Has to be computed numerically
Credit: MuthuKutty at en.wikipedia
Bessel Function
Fresnel Diffraction – Circular Aperture

## Slide 25: Unit 7
Limits of Diffraction
Geometric optics:
Fresnel:
Fraunhofer:
Imagine illuminating the same slit with different wavelengths
Keeping everything else the same:
Microwave
X-ray

## Slide 26: Unit 7
Diffraction